## Slide 1
25-01-2022
VTG capacity of EVs in the Netherlands

## Slide 2: Table of contents
  The following will be discussed during this presentation:
  Discussion of inputs
  Model demonstration
  Discussion of results
09-10-2020

## Slide 3
Discussion of the inputs

## Slide 4
09-10-2020
Three input variables for ETM
Total runs = 11 * 11 * 4 = 484 runs
Computation took 2 days on three separate virtual machines.
Estimated costs by microsoft azure ~ € 36
Simulated 174 000 EVs

## Slide 5
Model demonstration

## Slide 6: Model demonstration
Run the model in visual studio code.
Code of the model here
Animation of the model in action
09-10-2020

## Slide 7: Model Animation
In this GIF the VTG capacity is shown on the left side. The right side shows the total power demand. This visualization was created with 1000 EVs and 50% smart and can be seen below:
09-10-2020

## Slide 8
Discussion of the results

## Slide 9: Analysis
To test the model’s behavior, we did a number of analysis:
Verification by unit tests
Sobol – sensitivity analysis
Pairplots of outputs
09-10-2020

## Slide 10: Unit testing
Unit tests were conducted to test the model’s internal consistency Sobol – sensitivity analysis
21 unit test were made and passed
The tests were used to test the behavior of individual EV’s or model components.
Examples of things that were tested:
Range of EV’s should not exceed a certain level.
EV’s should leave when it’s departure time
EV’s should discharge when driving
EV’s should charge when the battery is too low to depart.
09-10-2020

## Slide 11: Sobol analysis
Sobol sensitivity analysis was conducted to test the model sensitivity to input variation.
A variation in the amount of smart charging cars changes the mean power demand most significantly.
09-10-2020

## Slide 12: Sobol analysis
A variation in the VTG percentage changed the mean VTG capacity most significantly.
09-10-2020

## Slide 13: Pairplots
A pairplot of the model was constructed to see how the model’s variables relate.
09-10-2020

## Slide 14
09-10-2020

## Slide 15: Results
The runs/profiles generated for the ETM were plotted in graphs. We will discuss the following output variabels:
The VTG capacity
Mean battery percentage
Power demand
09-10-2020

## Slide 16: VTG capacity over time.
The following figure shows the VTG capacity of all 484 runs in one picture. The time simulated in this picture was 7 days. The simulation had a warmup time of a week.
09-10-2020

## Slide 17: Average battery percentage over time.
The following figure shows the average battery percentage of all 484 runs in one picture. The time simulated in this picture was 7 days. The simulation had a warmup time of a week.
09-10-2020

## Slide 18: Current power demand over time.
The following figure shows the current power demand of all 484 runs in one picture. The time simulated in this picture was 7 days. The simulation had a warmup time of a week.
09-10-2020

## Slide 19: Bedankt voor uw aandacht
25-01-2022